## Sheet1
| Day 0 Media |  |  |  | Dilution Factor | Average | [Glucose] mM |  |  |  |  | average
| 0 | 104700 | 108300 | 105500 | 10 | 106166.6667 | 0.0036297 | 0 | 75480 | 72850 | 79820 | 76050 | didn't use in the graph
| 0.1 | 1207000 | 1241000 | 1267000 | 10 | 1238333.3333 | 0.075606 | 0.004 | 20320 | 18450 | 17810 | 18860
| 0.25 | 3024000 | 3300000 | 3270000 | 10 | 3198000 | 0.20019 | 0.02 | 18010 | 17340 | 21360 | 18903.3333
| 0.5 | 5838000 | 5948000 | 5970000 | 10 | 5918666.6667 | 0.37315 | 0.1 | 28370 | 27510 | 26250 | 27376.6667
| 1 | 2000000 | 2091000 | 2183000 | 100 | 2091333.3333 | 1.2983 | 0.5 | 82620 | 80980 | 79980 | 81193.3333
| 5 | 7221000 | 7229000 | 7287000 | 100 | 7245666.6667 | 4.5751 | 2 | 415800 | 355400 | 355200 | 375466.6667
| 25 | 7105000 | 7132000 | 7134000 | 500 | 7123666.6667 | 22.4879 | 10 | 1841000 | 1775000 | 1761000 | 1792333.3333
[8 empty] | 50 | 7843000 | 7836000 | 7961000 | 7880000
Day1
2N | 0 | 397300 | 410600 | 424700 | 10 | 410866.6667 | 0.023001
| 0.1 | 930300 | 975200 | 1048000 | 10 | 984500 | 0.059469
| 0.25 | 2087000 | 2151000 | 2255000 | 10 | 2164333.3333 | 0.13447
| 0.5 | 4651000 | 4655000 | 4679000 | 10 | 4661666.6667 | 0.29324
| 1 | 1827000 | 1825000 | 1819000 | 100 | 1823666.6667 | 1.1282
| 5 | 7158000 | 7100000 | 7161000 | 100 | 7139666.6667 | 4.5077
| 25 | 7253000 | 7041000 | 7032000 | 500 | 7108666.6667 | 22.4402
4N | 0 | 167600 | 244000 | 248600 | 10 | 220066.6667 | 0.010871
| 0.1 | 678200 | 649300 | 636600 | 10 | 654700 | 0.038502
| 0.25 | 1699000 | 1616000 | 1554000 | 10 | 1623000 | 0.10006
| 0.5 | 3985000 | 3812000 | 3647000 | 10 | 3814666.6667 | 0.23939
| 1 | 1351000 | 1337000 | 1254000 | 100 | 1314000 | 0.80416
| 5 | 7492000 | 7360000 | 7279000 | 100 | 7377000 | 4.6586
| 25 | 7640000 | 7630000 | 7629000 | 500 | 7633000 | 24.1069
Day2
2N | 0 | 125500 | 118300 | 113900 | 10 | 119233.3333 | 0.0044604
| 0.1 | 242400 | 233400 | 245400 | 10 | 240400 | 0.012163
| 0.25 | 501700 | 459200 | 479100 | 10 | 480000 | 0.027396
| 0.5 | 1257000 | 1144000 | 1143000 | 10 | 1181333.3333 | 0.071982
| 1 | 765900 | 771600 | 767500 | 100 | 768333.3333 | 0.45726
| 5 | 6672000 | 6643000 | 6605000 | 100 | 6640000 | 4.1901
| 25 | 6812000 | 6838000 | 6941000 | 500 | 6863666.6667 | 21.6614
4N | 0 | 109900 | 112300 | 111700 | 10 | 111300 | 0.0039561
| 0.1 | 105300 | 97720 | 105000 | 10 | 102673.3333 | 0.0034076
| 0.25 | 183200 | 161600 | 150800 | 10 | 165200 | 0.0073827
| 0.5 | 520300 | 354100 | 391600 | 10 | 422000 | 0.023708
| 1 | 306700 | 275500 | 312900 | 100 | 298366.6667 | 0.15849
| 5 | 6829000 | 6909000 | 6592000 | 100 | 6776666.6667 | 4.277
| 25 | 7499000 | 7515000 | 7483000 | 500 | 7499000 | 23.6809
Day 3
2N | 0 | 48610 | 47170 | 47900 | 10 | 47893.3333 | -7.4932e-05
| 0.1 | 52010 | 51690 | 63530 | 10 | 55743.3333 | 0.00042412
| 0.25 | 63260 | 56030 | 87120 | 10 | 68803.3333 | 0.0012544
| 0.5 | 81950 | 71280 | 135600 | 10 | 96276.6667 | 0.003001
| 1 | 130600 | 112200 | 137300 | 100 | 126700 | 0.049351
| 5 | 5253000 | 5115000 | 5391000 | 100 | 5253000 | 3.3083
| 25 | 6887000 | 6586000 | 6958000 | 500 | 6810333.3333 | 21.4919
4N | 0 | 81060 | 79520 | 80490 | 10 | 80356.6667 | 0.0019889
| 0.1 | 32610 | 30910 | 31270 | 10 | 31596.6667 | -0.001111
| 0.25 | 27380 | 24650 | 25450 | 10 | 25826.6667 | -0.0014778
| 0.5 | 39130 | 30560 | 27760 | 10 | 32483.3333 | -0.0010546
| 1 | 73400 | 65050 | 58160 | 100 | 65536.6667 | 0.010467
| 5 | 4179000 | 4198000 | 3808000 | 100 | 4061666.6667 | 2.551
| 25 | 7446000 | 7424000 | 7466000 | 500 | 7445333.3333 | 23.5103

## Luminescence 1_01
Measurement results
221112_Glucose Consumption_Promega_384.skax
11/12/2022 4:10:18 PM
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 397300 | 410600 | 424700 | 125500 | 118300 | 113900 | 48610 | 47170 | 47900 | 104700 | 108300 | 105500
B | 930300 | 975200 | 1048000 | 242400 | 233400 | 245400 | 52010 | 51690 | 63530 | 1207000 | 1241000 | 1267000
C | 2087000 | 2151000 | 2255000 | 501700 | 459200 | 479100 | 63260 | 56030 | 87120 | 3024000 | 3300000 | 3270000
D | 4651000 | 4655000 | 4679000 | 1257000 | 1144000 | 1143000 | 81950 | 71280 | 135600 | 5838000 | 5948000 | 5970000
E | 1827000 | 1825000 | 1819000 | 765900 | 771600 | 767500 | 130600 | 112200 | 137300 | 2000000 | 2091000 | 2183000
F | 7158000 | 7100000 | 7161000 | 6672000 | 6643000 | 6605000 | 5253000 | 5115000 | 5391000 | 7221000 | 7229000 | 7287000
G | 7253000 | 7041000 | 7032000 | 6812000 | 6838000 | 6941000 | 6887000 | 6586000 | 6958000 | 7105000 | 7132000 | 7134000
H | 167600 | 244000 | 248600 | 109900 | 112300 | 111700 | 81060 | 79520 | 80490 | 75480 | 72850 | 79820
I | 678200 | 649300 | 636600 | 105300 | 97720 | 105000 | 32610 | 30910 | 31270 | 20320 | 18450 | 17810
J | 1699000 | 1616000 | 1554000 | 183200 | 161600 | 150800 | 27380 | 24650 | 25450 | 18010 | 17340 | 21360
K | 3985000 | 3812000 | 3647000 | 520300 | 354100 | 391600 | 39130 | 30560 | 27760 | 28370 | 27510 | 26250
L | 1351000 | 1337000 | 1254000 | 306700 | 275500 | 312900 | 73400 | 65050 | 58160 | 82620 | 80980 | 79980
M | 7492000 | 7360000 | 7279000 | 6829000 | 6909000 | 6592000 | 4179000 | 4198000 | 3808000 | 415800 | 355400 | 355200
N | 7640000 | 7630000 | 7629000 | 7499000 | 7515000 | 7483000 | 7446000 | 7424000 | 7466000 | 1841000 | 1775000 | 1761000
O | 58900 | 64140 | 63630 | 62070 | 60500 | 59990 | 58760 | 57090 | 106700 | 7843000 | 7836000 | 7961000
P | 4434 | 5546 | 5326 | 6070 | 6215 | 5728 | 6273 | 7056 | 10070 | 58050 | 60900 | 55690
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
I | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
J | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
K | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
L | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
M | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
N | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
O | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
P | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
Autoloading range A1 - Y44

## Result summary
Results summary
General
Plate | Well | Group | Sample | Luminescence 1
Plate 1 | A01 | Group 1 | Blank1 | 397300
Plate 1 | B01 | Group 1 | Blank1 | 930300
Plate 1 | C01 | Group 1 | Blank1 | 2087000
Plate 1 | D01 | Group 1 | Blank1 | 4651000
Plate 1 | E01 | Group 1 | Blank1 | 1827000
Plate 1 | F01 | Group 1 | Blank1 | 7158000
Plate 1 | G01 | Group 1 | Blank1 | 7253000
Plate 1 | H01 | Group 1 | Blank1 | 167600
Plate 1 | I01 | Group 1 | Blank1 | 678200
Plate 1 | J01 | Group 1 | Blank1 | 1699000
Plate 1 | K01 | Group 1 | Blank1 | 3985000
Plate 1 | L01 | Group 1 | Blank1 | 1351000
Plate 1 | M01 | Group 1 | Blank1 | 7492000
Plate 1 | N01 | Group 1 | Blank1 | 7640000
Plate 1 | O01 | Group 1 | Blank1 | 58900
Plate 1 | P01 | Group 1 | Blank1 | 4434
Plate 1 | A02 | Group 1 | Blank1 | 410600
Plate 1 | B02 | Group 1 | Blank1 | 975200
Plate 1 | C02 | Group 1 | Blank1 | 2151000
Plate 1 | D02 | Group 1 | Blank1 | 4655000
Plate 1 | E02 | Group 1 | Blank1 | 1825000
Plate 1 | F02 | Group 1 | Blank1 | 7100000
Plate 1 | G02 | Group 1 | Blank1 | 7041000
Plate 1 | H02 | Group 1 | Blank1 | 244000
Plate 1 | I02 | Group 1 | Blank1 | 649300
Plate 1 | J02 | Group 1 | Blank1 | 1616000
Plate 1 | K02 | Group 1 | Blank1 | 3812000
Plate 1 | L02 | Group 1 | Blank1 | 1337000
Plate 1 | M02 | Group 1 | Blank1 | 7360000
Plate 1 | N02 | Group 1 | Blank1 | 7630000
Plate 1 | O02 | Group 1 | Blank1 | 64140
Plate 1 | P02 | Group 1 | Blank1 | 5546
Plate 1 | A03 | Group 1 | Blank1 | 424700
Plate 1 | B03 | Group 1 | Blank1 | 1048000
Plate 1 | C03 | Group 1 | Blank1 | 2255000
Plate 1 | D03 | Group 1 | Blank1 | 4679000
Plate 1 | E03 | Group 1 | Blank1 | 1819000
Plate 1 | F03 | Group 1 | Blank1 | 7161000
Plate 1 | G03 | Group 1 | Blank1 | 7032000
Plate 1 | H03 | Group 1 | Blank1 | 248600
Plate 1 | I03 | Group 1 | Blank1 | 636600
Plate 1 | J03 | Group 1 | Blank1 | 1554000
Plate 1 | K03 | Group 1 | Blank1 | 3647000
Plate 1 | L03 | Group 1 | Blank1 | 1254000
Plate 1 | M03 | Group 1 | Blank1 | 7279000
Plate 1 | N03 | Group 1 | Blank1 | 7629000
Plate 1 | O03 | Group 1 | Blank1 | 63630
Plate 1 | P03 | Group 1 | Blank1 | 5326
Plate 1 | A04 | Group 1 | Blank1 | 125500
Plate 1 | B04 | Group 1 | Blank1 | 242400
Plate 1 | C04 | Group 1 | Blank1 | 501700
Plate 1 | D04 | Group 1 | Blank1 | 1257000
Plate 1 | E04 | Group 1 | Blank1 | 765900
Plate 1 | F04 | Group 1 | Blank1 | 6672000
Plate 1 | G04 | Group 1 | Blank1 | 6812000
Plate 1 | H04 | Group 1 | Blank1 | 109900
Plate 1 | I04 | Group 1 | Blank1 | 105300
Plate 1 | J04 | Group 1 | Blank1 | 183200
Plate 1 | K04 | Group 1 | Blank1 | 520300
Plate 1 | L04 | Group 1 | Blank1 | 306700
Plate 1 | M04 | Group 1 | Blank1 | 6829000
Plate 1 | N04 | Group 1 | Blank1 | 7499000
Plate 1 | O04 | Group 1 | Blank1 | 62070
Plate 1 | P04 | Group 1 | Blank1 | 6070
Plate 1 | A05 | Group 1 | Blank1 | 118300
Plate 1 | B05 | Group 1 | Blank1 | 233400
Plate 1 | C05 | Group 1 | Blank1 | 459200
Plate 1 | D05 | Group 1 | Blank1 | 1144000
Plate 1 | E05 | Group 1 | Blank1 | 771600
Plate 1 | F05 | Group 1 | Blank1 | 6643000
Plate 1 | G05 | Group 1 | Blank1 | 6838000
Plate 1 | H05 | Group 1 | Blank1 | 112300
Plate 1 | I05 | Group 1 | Blank1 | 97720
Plate 1 | J05 | Group 1 | Blank1 | 161600
Plate 1 | K05 | Group 1 | Blank1 | 354100
Plate 1 | L05 | Group 1 | Blank1 | 275500
Plate 1 | M05 | Group 1 | Blank1 | 6909000
Plate 1 | N05 | Group 1 | Blank1 | 7515000
Plate 1 | O05 | Group 1 | Blank1 | 60500
Plate 1 | P05 | Group 1 | Blank1 | 6215
Plate 1 | A06 | Group 1 | Blank1 | 113900
Plate 1 | B06 | Group 1 | Blank1 | 245400
Plate 1 | C06 | Group 1 | Blank1 | 479100
Plate 1 | D06 | Group 1 | Blank1 | 1143000
Plate 1 | E06 | Group 1 | Blank1 | 767500
Plate 1 | F06 | Group 1 | Blank1 | 6605000
Plate 1 | G06 | Group 1 | Blank1 | 6941000
Plate 1 | H06 | Group 1 | Blank1 | 111700
Plate 1 | I06 | Group 1 | Blank1 | 105000
Plate 1 | J06 | Group 1 | Blank1 | 150800
Plate 1 | K06 | Group 1 | Blank1 | 391600
Plate 1 | L06 | Group 1 | Blank1 | 312900
Plate 1 | M06 | Group 1 | Blank1 | 6592000
Plate 1 | N06 | Group 1 | Blank1 | 7483000
Plate 1 | O06 | Group 1 | Blank1 | 59990
Plate 1 | P06 | Group 1 | Blank1 | 5728
Plate 1 | A07 | Group 1 | Blank1 | 48610
Plate 1 | B07 | Group 1 | Blank1 | 52010
Plate 1 | C07 | Group 1 | Blank1 | 63260
Plate 1 | D07 | Group 1 | Blank1 | 81950
Plate 1 | E07 | Group 1 | Blank1 | 130600
Plate 1 | F07 | Group 1 | Blank1 | 5253000
Plate 1 | G07 | Group 1 | Blank1 | 6887000
Plate 1 | H07 | Group 1 | Blank1 | 81060
Plate 1 | I07 | Group 1 | Blank1 | 32610
Plate 1 | J07 | Group 1 | Blank1 | 27380
Plate 1 | K07 | Group 1 | Blank1 | 39130
Plate 1 | L07 | Group 1 | Blank1 | 73400
Plate 1 | M07 | Group 1 | Blank1 | 4179000
Plate 1 | N07 | Group 1 | Blank1 | 7446000
Plate 1 | O07 | Group 1 | Blank1 | 58760
Plate 1 | P07 | Group 1 | Blank1 | 6273
Plate 1 | A08 | Group 1 | Blank1 | 47170
Plate 1 | B08 | Group 1 | Blank1 | 51690
Plate 1 | C08 | Group 1 | Blank1 | 56030
Plate 1 | D08 | Group 1 | Blank1 | 71280
Plate 1 | E08 | Group 1 | Blank1 | 112200
Plate 1 | F08 | Group 1 | Blank1 | 5115000
Plate 1 | G08 | Group 1 | Blank1 | 6586000
Plate 1 | H08 | Group 1 | Blank1 | 79520
Plate 1 | I08 | Group 1 | Blank1 | 30910
Plate 1 | J08 | Group 1 | Blank1 | 24650
Plate 1 | K08 | Group 1 | Blank1 | 30560
Plate 1 | L08 | Group 1 | Blank1 | 65050
Plate 1 | M08 | Group 1 | Blank1 | 4198000
Plate 1 | N08 | Group 1 | Blank1 | 7424000
Plate 1 | O08 | Group 1 | Blank1 | 57090
Plate 1 | P08 | Group 1 | Blank1 | 7056
Plate 1 | A09 | Group 1 | Blank1 | 47900
Plate 1 | B09 | Group 1 | Blank1 | 63530
Plate 1 | C09 | Group 1 | Blank1 | 87120
Plate 1 | D09 | Group 1 | Blank1 | 135600
Plate 1 | E09 | Group 1 | Blank1 | 137300
Plate 1 | F09 | Group 1 | Blank1 | 5391000
Plate 1 | G09 | Group 1 | Blank1 | 6958000
Plate 1 | H09 | Group 1 | Blank1 | 80490
Plate 1 | I09 | Group 1 | Blank1 | 31270
Plate 1 | J09 | Group 1 | Blank1 | 25450
Plate 1 | K09 | Group 1 | Blank1 | 27760
Plate 1 | L09 | Group 1 | Blank1 | 58160
Plate 1 | M09 | Group 1 | Blank1 | 3808000
Plate 1 | N09 | Group 1 | Blank1 | 7466000
Plate 1 | O09 | Group 1 | Blank1 | 106700
Plate 1 | P09 | Group 1 | Blank1 | 10070
Plate 1 | A10 | Group 1 | Blank1 | 104700
Plate 1 | B10 | Group 1 | Blank1 | 1207000
Plate 1 | C10 | Group 1 | Blank1 | 3024000
Plate 1 | D10 | Group 1 | Blank1 | 5838000
Plate 1 | E10 | Group 1 | Blank1 | 2000000
Plate 1 | F10 | Group 1 | Blank1 | 7221000
Plate 1 | G10 | Group 1 | Blank1 | 7105000
Plate 1 | H10 | Group 1 | Blank1 | 75480
Plate 1 | I10 | Group 1 | Blank1 | 20320
Plate 1 | J10 | Group 1 | Blank1 | 18010
Plate 1 | K10 | Group 1 | Blank1 | 28370
Plate 1 | L10 | Group 1 | Blank1 | 82620
Plate 1 | M10 | Group 1 | Blank1 | 415800
Plate 1 | N10 | Group 1 | Blank1 | 1841000
Plate 1 | O10 | Group 1 | Blank1 | 7843000
Plate 1 | P10 | Group 1 | Blank1 | 58050
Plate 1 | A11 | Group 1 | Blank1 | 108300
Plate 1 | B11 | Group 1 | Blank1 | 1241000
Plate 1 | C11 | Group 1 | Blank1 | 3300000
Plate 1 | D11 | Group 1 | Blank1 | 5948000
Plate 1 | E11 | Group 1 | Blank1 | 2091000
Plate 1 | F11 | Group 1 | Blank1 | 7229000
Plate 1 | G11 | Group 1 | Blank1 | 7132000
Plate 1 | H11 | Group 1 | Blank1 | 72850
Plate 1 | I11 | Group 1 | Blank1 | 18450
Plate 1 | J11 | Group 1 | Blank1 | 17340
Plate 1 | K11 | Group 1 | Blank1 | 27510
Plate 1 | L11 | Group 1 | Blank1 | 80980
Plate 1 | M11 | Group 1 | Blank1 | 355400
Plate 1 | N11 | Group 1 | Blank1 | 1775000
Plate 1 | O11 | Group 1 | Blank1 | 7836000
Plate 1 | P11 | Group 1 | Blank1 | 60900
Plate 1 | A12 | Group 1 | Blank1 | 105500
Plate 1 | B12 | Group 1 | Blank1 | 1267000
Plate 1 | C12 | Group 1 | Blank1 | 3270000
Plate 1 | D12 | Group 1 | Blank1 | 5970000
Plate 1 | E12 | Group 1 | Blank1 | 2183000
Plate 1 | F12 | Group 1 | Blank1 | 7287000
Plate 1 | G12 | Group 1 | Blank1 | 7134000
Plate 1 | H12 | Group 1 | Blank1 | 79820
Plate 1 | I12 | Group 1 | Blank1 | 17810
Plate 1 | J12 | Group 1 | Blank1 | 21360
Plate 1 | K12 | Group 1 | Blank1 | 26250
Plate 1 | L12 | Group 1 | Blank1 | 79980
Plate 1 | M12 | Group 1 | Blank1 | 355200
Plate 1 | N12 | Group 1 | Blank1 | 1761000
Plate 1 | O12 | Group 1 | Blank1 | 7961000
Plate 1 | P12 | Group 1 | Blank1 | 55690

## General information
General information
| Software version | SkanIt Software 6.0.2 for Microplate Readers RE, ver. 6.0.2.3
| Optical response compensation | Yes

## Session information
Session information
| Session name | 221112_Glucose Consumption_Promega_384.skax
Session notes
| Software version | SkanIt Software for Microplate Readers RE, ver. 6.0.2.3
| Execution time | 11/12/2022 4:10:18 PM
| User | HLM\4471542

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Serial number |  | 3020-80610
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2019805
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 3
| Use settle delay | No
| Check temperature at start [°C] | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 11/12/2022 4:10:18 PM | Temperature | 24.1°C
| 11/12/2022 4:10:18 PM | Step Luminescence 1 started
| 11/12/2022 4:10:26 PM | Calibration | Luminometric 1.33162 120813249
| 11/12/2022 4:11:15 PM | Temperature | 24.1°C
| 11/12/2022 4:12:15 PM | Temperature | 24.1°C
| 11/12/2022 4:13:15 PM | Temperature | 24.1°C
| 11/12/2022 4:14:03 PM | Step Luminescence 1 ended
| 11/12/2022 4:14:03 PM | Temperature | 24.1°C
| 11/12/2022 4:14:14 PM | Session 221112_Glucose Consumption_Promega_384.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
I | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
J | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
K | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
L | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
M | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
N | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
O | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
P | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1