## MDA-231
| Day 0 Media |  |  |  | Dilution Factor | Average | [Glucose] mM | uM |  |  |  | average
| 0 | 5159.48 | 5974.79 | 5568.45 | 10 | 5567.5733 | 0.0066432 | 0 | 2917.57 | 2336.87 |  | 2627.22
| 0.1 | 78317.5 | 84218.7 | 80531.7 | 10 | 81022.6333 | 0.099106 | 0.004 | 2709.09 | 2492.64 |  | 2600.865
| 0.25 | 207688 | 227627 | 211219 | 10 | 215511.3333 | 0.26391 | 0.02 | 3387.9 | 2702.8 |  | 3045.35
| 0.5 | 514414 | 540595 | 504299 | 10 | 519769.3333 | 0.63675 | 0.1 | 3527.86 | 3339.82 |  | 3433.84
| 1 | 82998 | 91295.3 | 84879.4 | 100 | 86390.9 | 1.0568 | 0.5 | 6232.95 | 6240.63 |  | 6236.79
| 5 | 398927 | 431669 | 412862 | 100 | 414486 | 5.0773 | 2 | 14876.4 | 15597.7 |  | 15237.05
| 25 | 370786 | 376247 | 391189 | 500 | 379407.3333 | 23.2374 | 10 | 72248.5 | 72672.2 |  | 72460.35
[8 empty] | 25 | 195683 | 198720 |  | 197201.5
[8 empty] | 50 | 422916 | 404154 |  | 413535
Day1
2N | 0 | 3483.56 | 3956.28 | 3742.52 | 10 | 3727.4533 | 0.0043883 |  |  | slope | 8160.5608
| 0.1 | 24167.3 | 27368.3 | 27549.3 | 10 | 26361.6333 | 0.032124 |  |  | y-intercept | 146.3315
| 0.25 | 81358.4 | 74309.9 | 76938.3 | 10 | 77535.5333 | 0.094833
| 0.5 | 285036 | 314873 | 290848 | 10 | 296919 | 0.36367
| 1 | 60474.1 | 65226 | 61053.7 | 100 | 62251.2667 | 0.76104
| 5 | 344791 | 380916 | 351803 | 100 | 359170 | 4.3995
| 25 | 328898 | 355363 | 339001 | 500 | 341087.3333 | 20.8896
4N | 0 | 3879.92 | 3727.08 | 3497.57 | 10 | 3701.5233 | 0.0043566
| 0.1 | 25654.8 | 24189.7 | 26017.8 | 10 | 25287.4333 | 0.030808
| 0.25 | 83330.6 | 78445.6 | 82282.6 | 10 | 81352.9333 | 0.099511
| 0.5 | 304549 | 298098 | 352609 | 10 | 318418.6667 | 0.39001
| 1 | 67988.5 | 63551.4 | 68141.3 | 100 | 66560.4 | 0.81384
| 5 | 394047 | 358157 | 419047 | 100 | 390417 | 4.7824
| 25 | 362731 | 338661 | 364530 | 500 | 355307.3333 | 21.7608
Day2
2N | 0 | 3071.32 | 2883.63 | 2895.22 | 10 | 2950.0567 | 0.0034357
| 0.1 | 6483.47 | 6668.67 | 6302.26 | 10 | 6484.8 | 0.0077672
| 0.25 | 13603.4 | 14999.9 | 13558.1 | 10 | 14053.8 | 0.017042
| 0.5 | 53462.6 | 55732.2 | 58915.4 | 10 | 56036.7333 | 0.068488
| 1 | 32360.2 | 31590.7 | 32469.5 | 100 | 32140.1333 | 0.39205
| 5 | 327950 | 358198 | 346636 | 100 | 344261.3333 | 4.2168
| 25 | 338050 | 360055 | 351408 | 500 | 349837.6667 | 21.4257
4N | 0 | 3397.62 | 2897.47 | 2817.59 | 10 | 3037.56 | 0.0035429
| 0.1 | 6198.89 | 5713.55 | 6963.53 | 10 | 6291.99 | 0.0075309
| 0.25 | 11155.3 | 11110.1 | 12741.6 | 10 | 11669 | 0.01412
| 0.5 | 51346.4 | 48262 | 55277.7 | 10 | 51628.7 | 0.063087
| 1 | 38575 | 34994.7 | 37233.8 | 100 | 36934.5 | 0.4508
| 5 | 359963 | 349676 | 403427 | 100 | 371022 | 4.5447
| 25 | 359356 | 355927 | 396787 | 500 | 370690 | 22.7033
Day 3
2N | 0 | 2948.74 | 2604.17 | 2885.32 | 10 | 2812.7433 | 0.0032674
| 0.1 | 3335.03 | 4478.45 | 3367.02 | 10 | 3726.8333 | 0.0043876
| 0.25 | 4098.6 | 4699.47 | 3988.12 | 10 | 4262.0633 | 0.0050434
| 0.5 | 6546.22 | 6330.02 | 6294.08 | 10 | 6390.1067 | 0.0076512
| 1 | 7324.87 | 7975.94 | 7612.53 | 100 | 7637.78 | 0.091801
| 5 | 268661 | 285705 | 266002 | 100 | 273456 | 3.3492
| 25 | 357805 | 357088 | 359999 | 500 | 358297.3333 | 21.944
4N | 0 | 3040.34 | 3087.62 | 3341.12 | 10 | 3156.36 | 0.0036885
| 0.1 | 3739.14 | 3804.91 | 4857.7 | 10 | 4133.9167 | 0.0048864
| 0.25 | 4622.92 | 4705.16 | 7069.31 | 10 | 5465.7967 | 0.0065185
| 0.5 | 7043.18 | 6680.75 | 12011.4 | 10 | 8578.4433 | 0.010333
| 1 | 8173 | 7783.31 | 9395.21 | 100 | 8450.5067 | 0.10176
| 5 | 289501 | 262747 | 284797 | 100 | 279015 | 3.4173
| 25 | 348088 | 338582 | 362781 | 500 | 349817 | 21.4244

## 10A-parental
| Day 0 Media |  |  |  | Dilution Factor | Average | [Glucose] mM | uM |  |  |  | average
| 0 | 8927.63 | 9461.26 | 11228 | 10 | 9872.2967 | 0.011918 | 0 | 2917.57 | 2336.87 |  | 2627.22
| 0.1 | 75565.8 | 86160.3 | 82151 | 10 | 81292.3667 | 0.099437 | 0.004 | 2709.09 | 2492.64 |  | 2600.865
| 0.25 | 197560 | 213929 | 194232 | 10 | 201907 | 0.24724 | 0.02 | 3387.9 | 2702.8 |  | 3045.35
| 0.5 | 496671 | 522653 | 485564 | 10 | 501629.3333 | 0.61452 | 0.1 | 3527.86 | 3339.82 |  | 3433.84
| 1 | 75194 | 79100.7 | 75141.7 | 100 | 76478.8 | 0.93538 | 0.5 | 6232.95 | 6240.63 |  | 6236.79
| 5 | 415515 | 428656 | 436083 | 100 | 426751.3333 | 5.2276 | 2 | 14876.4 | 15597.7 |  | 15237.05
| 25 | 345374 | 354779 | 351715 | 500 | 350622.6667 | 21.4738 | 10 | 72248.5 | 72672.2 |  | 72460.35
[8 empty] | 25 | 195683 | 198720 |  | 197201.5
[8 empty] | 50 | 422916 | 404154 |  | 413535
Day1
2N | 0 | 7742.24 | 8277.02 | 8886.32 | 10 | 8301.86 | 0.0099938 |  |  | slope | 8160.5608
| 0.1 | 58927.3 | 60632.7 | 58740.6 | 10 | 59433.5333 | 0.072651 |  |  | y-intercept | 146.3315
| 0.25 | 141629 | 140581 | 131039 | 10 | 137749.6667 | 0.16862
| 0.5 | 325603 | 344540 | 394658 | 10 | 354933.6667 | 0.43476
| 1 | 51689.3 | 53488.2 | 50678.1 | 100 | 51951.8667 | 0.63483
| 5 | 361129 | 373629 | 372603 | 100 | 369120.3333 | 4.5214
| 25 | 286655 | 271320 | 288075 | 500 | 282016.6667 | 17.2703
4N | 0 | 7994.24 | 7464.29 | 7612.24 | 10 | 7690.2567 | 0.0092444
| 0.1 | 30032.9 | 31037.3 | 34051.9 | 10 | 31707.3667 | 0.038675
| 0.25 | 69720 | 78110.6 | 69187.8 | 10 | 72339.4667 | 0.088466
| 0.5 | 173446 | 171264 | 208043 | 10 | 184251 | 0.2256
| 1 | 38092.9 | 33004.4 | 37462.1 | 100 | 36186.4667 | 0.44164
| 5 | 349268 | 350697 | 381043 | 100 | 360336 | 4.4138
| 25 | 299577 | 319689 | 315832 | 500 | 311699.3333 | 19.0889
Day2
2N | 0 | 8303.24 | 8195.61 | 8595.15 | 10 | 8364.6667 | 0.010071
| 0.1 | 31800.3 | 26967 | 27480.2 | 10 | 28749.1667 | 0.03505
| 0.25 | 59700 | 51861.7 | 46887.7 | 10 | 52816.4667 | 0.064542
| 0.5 | 101906 | 104293 | 135598 | 10 | 113932.3333 | 0.13943
| 1 | 19815.1 | 19862.2 | 19604.2 | 100 | 19760.5 | 0.24035
| 5 | 286791 | 302327 | 323662 | 100 | 304260 | 3.7266
| 25 | 286201 | 273760 | 320675 | 500 | 293545.3333 | 17.9766
4N | 0 | 6346.75 | 7038.73 | 6596.73 | 10 | 6660.7367 | 0.0079828
| 0.1 | 6955.82 | 7279.33 | 9087.89 | 10 | 7774.3467 | 0.0093474
| 0.25 | 11941.6 | 15906.6 | 12436.7 | 10 | 13428.3 | 0.016276
| 0.5 | 20679.1 | 19856.9 | 27832.1 | 10 | 22789.3667 | 0.027747
| 1 | 9740.37 | 8711.14 | 8720.26 | 100 | 9057.2567 | 0.1092
| 5 | 257142 | 262055 | 274487 | 100 | 264561.3333 | 3.2402
| 25 | 302115 | 304674 | 304377 | 500 | 303722 | 18.6002
Day 3
2N | 0 | 8322.5 | 8294.67 | 8676.83 | 10 | 8431.3333 | 0.010152
| 0.1 | 12294.3 | 9823.38 | 9339.08 | 10 | 10485.5867 | 0.01267
| 0.25 | 13063.4 | 9896.33 | 8672.55 | 10 | 10544.0933 | 0.012741
| 0.5 | 11342.7 | 12250 | 17576.5 | 10 | 13723.0667 | 0.016637
| 1 | 5299.01 | 5601.96 | 4896.67 | 100 | 5265.88 | 0.062735
| 5 | 121868 | 162397 | 158581 | 100 | 147615.3333 | 1.8071
| 25 | 264098 | 245688 | 278325 | 500 | 262703.6667 | 16.087
4N | 0 | 5992.76 | 6399.3 | 6074.52 | 10 | 6155.5267 | 0.0073637
| 0.1 | 3573.78 | 3743.04 | 4788.91 | 10 | 4035.2433 | 0.0047655
| 0.25 | 3589.28 | 4449.47 | 5661.73 | 10 | 4566.8267 | 0.0054169
| 0.5 | 4100.73 | 3911.22 | 9397.95 | 10 | 5803.3 | 0.0069321
| 1 | 3930.86 | 4094.49 | 5446.47 | 100 | 4490.6067 | 0.053235
| 5 | 97455.4 | 107036 | 130914 | 100 | 111801.8 | 1.3682
| 25 | 261894 | 258063 | 252515 | 500 | 257490.6667 | 15.7676

## Luminescence 1_01
Measurement results
251126_Glucose_Promega_231-10A parental_Andor.skax
2025-11-27T02:26:30-05:00
Luminescence 1
Wavelength: 0 nm
Plate 1
RLU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 3483.56 | 3956.28 | 3742.52 | 3879.92 | 3727.08 | 3497.57 | 3071.32 | 2883.63 | 2895.22 | 3397.62 | 2897.47 | 2817.59 | 2948.74 | 2604.17 | 2885.32 | 3040.34 | 3087.62 | 3341.12 | 5159.48 | 5974.79 | 5568.45 | 2917.57 | 7441.93 | 2336.87
B | 24167.3 | 27368.3 | 27549.3 | 25654.8 | 24189.7 | 26017.8 | 6483.47 | 6668.67 | 6302.26 | 6198.89 | 5713.55 | 6963.53 | 3335.03 | 4478.45 | 3367.02 | 3739.14 | 3804.91 | 4857.7 | 78317.5 | 84218.7 | 80531.7 | 3828.12 | 2709.09 | 2492.64
C | 81358.4 | 74309.9 | 76938.3 | 83330.6 | 78445.6 | 82282.6 | 13603.4 | 14999.9 | 13558.1 | 11155.3 | 11110.1 | 12741.6 | 4098.6 | 4699.47 | 3988.12 | 4622.92 | 4705.16 | 7069.31 | 207688 | 227627 | 211219 | 5311.44 | 3387.9 | 2702.8
D | 285036 | 314873 | 290848 | 304549 | 298098 | 352609 | 53462.6 | 55732.2 | 58915.4 | 51346.4 | 48262 | 55277.7 | 6546.22 | 6330.02 | 6294.08 | 7043.18 | 6680.75 | 12011.4 | 514414 | 540595 | 504299 | 7769.59 | 3527.86 | 3339.82
E | 60474.1 | 65226 | 61053.7 | 67988.5 | 63551.4 | 68141.3 | 32360.2 | 31590.7 | 32469.5 | 38575 | 34994.7 | 37233.8 | 7324.87 | 7975.94 | 7612.53 | 8173 | 7783.31 | 9395.21 | 82998 | 91295.3 | 84879.4 | 7672.89 | 6232.95 | 6240.63
F | 344791 | 380916 | 351803 | 394047 | 358157 | 419047 | 327950 | 358198 | 346636 | 359963 | 349676 | 403427 | 268661 | 285705 | 266002 | 289501 | 262747 | 284797 | 398927 | 431669 | 412862 | 19177 | 14876.4 | 15597.7
G | 328898 | 355363 | 339001 | 362731 | 338661 | 364530 | 338050 | 360055 | 351408 | 359356 | 355927 | 396787 | 357805 | 357088 | 359999 | 348088 | 338582 | 362781 | 370786 | 376247 | 391189 | 77806.1 | 72248.5 | 72672.2
H | 7742.24 | 8277.02 | 8886.32 | 7994.24 | 7464.29 | 7612.24 | 8303.24 | 8195.61 | 8595.15 | 6346.75 | 7038.73 | 6596.73 | 8322.5 | 8294.67 | 8676.83 | 5992.76 | 6399.3 | 6074.52 | 8927.63 | 9461.26 | 11228 | 208307 | 195683 | 198720
I | 58927.3 | 60632.7 | 58740.6 | 30032.9 | 31037.3 | 34051.9 | 31800.3 | 26967 | 27480.2 | 6955.82 | 7279.33 | 9087.89 | 12294.3 | 9823.38 | 9339.08 | 3573.78 | 3743.04 | 4788.91 | 75565.8 | 86160.3 | 82151 | 434139 | 422916 | 404154
J | 141629 | 140581 | 131039 | 69720 | 78110.6 | 69187.8 | 59700 | 51861.7 | 46887.7 | 11941.6 | 15906.6 | 12436.7 | 13063.4 | 9896.33 | 8672.55 | 3589.28 | 4449.47 | 5661.73 | 197560 | 213929 | 194232
K | 325603 | 344540 | 394658 | 173446 | 171264 | 208043 | 101906 | 104293 | 135598 | 20679.1 | 19856.9 | 27832.1 | 11342.7 | 12250 | 17576.5 | 4100.73 | 3911.22 | 9397.95 | 496671 | 522653 | 485564
L | 51689.3 | 53488.2 | 50678.1 | 38092.9 | 33004.4 | 37462.1 | 19815.1 | 19862.2 | 19604.2 | 9740.37 | 8711.14 | 8720.26 | 5299.01 | 5601.96 | 4896.67 | 3930.86 | 4094.49 | 5446.47 | 75194 | 79100.7 | 75141.7
M | 361129 | 373629 | 372603 | 349268 | 350697 | 381043 | 286791 | 302327 | 323662 | 257142 | 262055 | 274487 | 121868 | 162397 | 158581 | 97455.4 | 107036 | 130914 | 415515 | 428656 | 436083
N | 286655 | 271320 | 288075 | 299577 | 319689 | 315832 | 286201 | 273760 | 320675 | 302115 | 304674 | 304377 | 264098 | 245688 | 278325 | 261894 | 258063 | 252515 | 345374 | 354779 | 351715
O
P
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
I | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
J | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
K | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
L | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
M | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
N | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
O
P
Autoloading range A1 - Y44

## General information
General information
| Report generated with SW version | SkanIt Software 7.1 RE for Microplate Readers RE, ver. 7.1.0.44
| Time zone | (UTC-05:00) Eastern Time (US & Canada)

## Session information
Session information
| Session name | 251126_Glucose_Promega_231-10A parental_Andor.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.1.0.44
| Execution time | 2025-11-27T02:26:30-05:00

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Optical response compensation |  | Yes
| Serial number |  | 3020-80610
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2019805
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order | 7
| Use settle delay | Yes
| Check temperature at start [°C] | No
| Plate with lid | No
Luminescence 1
| Optics | Normal
| Use smaller aperture | No
| Dynamic Range | Automatic
| Measurement Time [ms] | 1000

## Run log
Run log
| Time | Event | Information
| 2025-11-27T02:26:30-05:00 | Session 251126_Glucose_Promega_231-10A parental_Andor.skax started
| 2025-11-27T02:26:30-05:00 | Temperature | 24.0°C
| 2025-11-27T02:26:30-05:00 | Step Luminescence 1 started
| 2025-11-27T02:26:38-05:00 | Calibration | Luminometric 0.91578 193196731
| 2025-11-27T02:27:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:28:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:29:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:30:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:31:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:32:22-05:00 | Temperature | 24.0°C
| 2025-11-27T02:32:55-05:00 | Step Luminescence 1 ended
| 2025-11-27T02:32:55-05:00 | Temperature | 24.0°C
| 2025-11-27T02:33:07-05:00 | Session 251126_Glucose_Promega_231-10A parental_Andor.skax ended

## Layout definitions
Name | Plate 1
Plate template | Greiner, F-bottom, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
B | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
C | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
D | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
E | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
F | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
G | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
H | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
I | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
J | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
K | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
L | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
M | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
N | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
O
P